DISSECTION HALL
	

		S.No
	Essential Equipment and Instruments
	Count/Availability of Instruments/Equipments

	1
	Tank with a capacity to preserve 2 to 4 bodies
	Available

	2
	Dissection Tables Sets
	25

	3
	Dissecting Table-Full size with steel top or marble top stainless
	6

	4
	Dissecting Table-Half size with steel top or marble top stainless
	10

	5
	Bone cutter of the number 3/4, 1/2, 1/4, 1/8 - fine pointed Chisel bone dissector
	Available

	6
	Machines for bones and brain sectioning
	Available

	7
	X-ray viewing box or panels
	3

	8
	Glass jars of different sizes
	Available




	
	
	
	
	

		Total :
	44



	
	
	
	

	
	
	
	
	

	Reagents

	
	
	
	
	

		S.No
	Reagents/Liquids/Others
	Availability

	1
	Preservative Chemicals
	Available





RASASHASTRA AND BHAISHAJYA KALPANA LABORATORY (TEACHING)
	

		S.No
	Essential Equipment and Instruments
	Count/Availability of Instruments/Equipments

	1
	Khalva Yantra- Small
	20

	2
	Khalva Yantra- Medium
	20

	3
	Khalva Yantra- Porcelain
	20

	4
	Khalva Yantra- Tapta khalva yantra
	4

	5
	Heating Device-Gas Stove
	Available

	6
	Electronic Balance
	1

	7
	Heating Device-Hot plate
	Available

	8
	Heating Device-Chulla (Charcoal)
	Available

	9
	Vessels-Frying Pan
	Available

	10
	Vessels-Steel Vessel
	Available

	11
	Vessels-Spatula
	Available

	12
	Vessels-Ladles & Spoons
	Available

	13
	Vessels-Knife
	Available

	14
	Vessels-Plates
	Available

	15
	Vessels-Samdamsa Yantra(Tongs)
	Available

	16
	Measuring Equipments Different Size (Glass)
	Available

	17
	Big Vessels & Containers- Brass
	Available

	18
	Big Vessels & Containers-Copper
	Available

	19
	Big Vessels & Containers-Steel etc.
	Available

	20
	Balance (Different Capacities)-Physical
	3

	21
	Balance (Different Capacities)-Chemical
	1

	22
	Pounding Apparatus (Ulukhala Yantra)
	20

	23
	Sieves (Assorted Numbers & Size)
	Available

	24
	Wet Grinder
	1

	25
	Mixi
	1

	26
	Juice Extractor
	1

	27
	Putas (Different kind)
	10

	28
	Pyrometer
	Available

	29
	Thermometer
	Available

	30
	Pressure Cooker
	Available

	31
	Moosha (Crucibles)
	50

	32
	Koshti with Blower
	4

	33
	Refrigerator
	1

	34
	Jars(Porcelain) Fermentation Purpose
	Available

	35
	Dola Yantra
	1

	36
	Valuka Yantra
	1

	37
	Pithara Yantra
	1

	38
	Bhudhara Yantra etc.
	1

	39
	Distillation Apparatus & Arka Yantra
	6

	40
	Enamel Trays
	Available

	41
	Spirit Lamp
	Available

	42
	Earthen Vessels-Pots
	Available

	43
	Kupipakva Bhatti
	1

	44
	Almiras & Racks for storage
	Available




	
	
	
	
	

		Total :
	168



	
	
	
	


PHYSIOLOGY (KRIYA SHARIR) LABORATORY
	

		S.No
	Essential Equipment and Instruments
	Count/Availability of Instruments/Equipments

	1
	Microscopes with oil immersion
	50

	2
	Westergren's pipette for ESR
	100

	3
	Haematocrit Tube
	100

	4
	Sahli's Haemoglobinometer
	100

	5
	Haemocytometer
	100

	6
	Sphygmomanometer
	50

	7
	Stethoscope
	100

	8
	Clinical Thermometer
	100

	9
	Knee Hammer
	100

	10
	Tuning forks
	100

	11
	Electrocardiograph
	1

	12
	Stop watches
	100

	13
	Water Distillation still
	1

	14
	Balances
	1

	15
	Cover slips, glassware, Microslides
	Available

	16
	Centrifuge with speed control
	6

	17
	Colorimeter (Photoelectric)
	6

	18
	pH Meter (Electric)
	1

	19
	pH Comparator with disc in a batch
	1

	20
	Refrigerator
	1

	21
	Newton's colour wheel in a batch
	1

	22
	Sterilizer
	5




	
	
	
	
	

		Total :
	1024



	
	
	
	






PHARMACOGNOSY LABORATORY [DRAVYAGUNA]
	

		S.No
	Essential Equipment and Instruments
	Count/Availability of Instruments/Equipments

	1
	Field magnifier
	2

	2
	Compound microscope
	2

	3
	Dissecting Microscope
	2

	4
	Microscope
	25

	5
	Slides box with cover slips,
	Available

	6
	Blotting/filter papers
	Available

	7
	Electronic balance
	2

	8
	Dissection Box
	Available

	9
	Enamel Trays
	Available




	
	
	
	
	

		Total :
	33



	
	
	
	

	
	
	
	
	

	Reagents

	
	
	
	
	

		S.No
	Reagents/Liquids/Others
	Availability

	1
	Chloroform
	Available

	2
	Alcohol.
	Available

	3
	HCL
	Available

	4
	Sulphuric acid
	Available

	5
	Sodium, potassium hydroxide
	Available

	6
	Benedict solution
	Available

	7
	Sodium nitrate
	Available

	8
	Potassium nitrate
	Available

	9
	Citric acid
	Available

	10
	Iodine
	Available

	11
	Ethyl Alcohol
	Available

	12
	Potassium Iodide
	Available

	13
	Xylol/pure xylene (slide preparation)
	Available





ROG-VIGYAN (PATHOLOGY LABORATORY)
	

		S.No
	Essential Equipment and Instruments
	Count/Availability of Instruments/Equipments

	1
	Binocular microscope
	25

	2
	X-ray view box
	1

	3
	Sterile disposable lancer/needle
	Available

	4
	Sahli's Square tube
	50

	5
	Hb pipette
	50

	6
	Dropper
	52

	7
	Glass rod
	Available

	8
	WBC Pipette
	50

	9
	Improved Neubauer chamber
	52

	10
	Cover slip
	Available

	11
	Red cell pipette
	50

	12
	Cleaned slides
	Available

	13
	Incubator
	2

	14
	Wintrobe's tube
	55

	15
	Pasteur's pipette
	50

	16
	Centrifuge Graduatee machine
	2

	17
	Westregrens pipette
	50

	18
	Rubber teat
	Available

	19
	Westergrens's stand
	50

	20
	Litmus paper
	Available

	21
	pH indicator paper strips
	Available

	22
	Urinometer
	50

	23
	Multi stix
	Available

	24
	Bunsen burner
	51

	25
	Test tube
	Available

	26
	Glass Jars with lid of different sizes
	Available

	27
	Magnifying lens
	Available

	28
	Autoclave
	1

	29
	Water bath
	Available

	30
	Separating funnels of various sizes
	Available

	31
	Stop watch
	51

	32
	Ultraviolet lamp
	1

	33
	Monocular microscope with oil emersion lens20(e)
	25

	34
	Capillary Tubes
	Available

	35
	Hot air oven
	1

	36
	Microscope with oil immersion
	25

	37
	Refrigerators
	1

	38
	Sterile vessels/bottle to collect samples
	Available

	39
	BP Apparatus
	50

	40
	Stethocope
	50

	41
	Thermometer
	50

	42
	Tongue depressor
	51

	43
	Torch
	Available

	44
	Knee hammer
	Available

	45
	Measuring Tape
	Available

	46
	ENT examination set
	Available

	47
	Reflectors(Mirrors)
	Available

	48
	Weighing machine
	1

	49
	Tuning Forks
	Available

	50
	Nasal speculum
	Available

	51
	Laryngoscope
	Available

	52
	Catheters
	Available

	53
	Probes
	Available

	54
	Physical balance
	1

	55
	Syringe needle destroyer
	Available

	56
	HBs Ag kit
	Available

	57
	HIV kit - Tridot (method by T Mitra)
	Available

	58
	CT and BT kit
	Available

	59
	Cell counter (haemoautoanalyser)
	1

	60
	Renal profile, LET kit, Lipid profile, Blood Sugar kit
	Available




	
	
	
	
	

		Total :
	949



	
	
	
	






Instruments and Equipments for OPD
		Kayachikitsa

		S.No.
	Equipments, Instruments, Furniture
	*Count/Availability of Instruments/Equipments

	1
	X-Ray View Box
	1

	2
	BP Apparatus
	2

	3
	Stethoscope.
	4

	4
	Examination Table.
	1

	5
	Thermometer
	4

	6
	Tongue depressor
	5

	7
	Torch.
	2

	8
	Gloves
	Available

	9
	Measuring tape
	1

	10
	Weight and height measuring stand
	1

	11
	Knee Hammer
	2







		

	Shalya Tantra

		S.No.
	Equipments, Instruments, Furniture
	*Count/Availability of Instruments/Equipments

	1
	Minor OT
	Available

	2
	Instruments for anorectal examination
	2

	3
	Examination Table.
	1

	4
	BP Apparatus
	2

	5
	Thermometer
	4

	6
	Surgical Blades
	Available

	7
	X-Ray Viewing Box
	1

	8
	Stethoscope.
	4

	9
	Cheetle's forceps
	Available

	10
	Torch..
	Available







		

	Shalakya Tantra

		S.No.
	Equipments, Instruments, Furniture
	*Count/Availability of Instruments/Equipments

	1
	Tuning forks
	Available

	2
	Ophthalmoscope/ fundoscope
	2

	3
	Auroscope
	2

	4
	Examination Table.
	1

	5
	X-Ray Viewing Box
	1

	6
	BP Apparatus
	2

	7
	Stethoscope.
	4

	8
	Thermometer
	4

	9
	ENT kit
	Available

	10
	Torch.
	2

	11
	Bull's lamp
	1







		

	Prasuti Tantra & Stri Roga

		S.No.
	Equipments, Instruments, Furniture
	*Count/Availability of Instruments/Equipments

	1
	Weighing machine
	1

	2
	Sim's speculum
	2

	3
	Thermometer
	4

	4
	Cusco's speculum
	2

	5
	Examination Table.
	1

	6
	Lamp stand
	1

	7
	Torch.
	2

	8
	X-Ray Viewing Box
	1

	9
	BP Apparatus
	2

	10
	Stethoscope.
	4

	11
	Measuring tape
	2







		

	Bal Roga

		S.No.
	Equipments, Instruments, Furniture
	*Count/Availability of Instruments/Equipments

	1
	Scale
	1

	2
	Weighing machine
	1

	3
	Torch.
	2

	4
	View Box
	1

	5
	Thermometer
	4

	6
	BP Apparatus
	2

	7
	Stethoscope
	Available

	8
	Examination table
	Available







		

	Panchkarma

		S.No.
	Equipments, Instruments, Furniture
	*Count/Availability of Instruments/Equipments

	1
	X-Ray View Box
	1

	2
	BP Apparatus
	2

	3
	Stethoscope.
	4

	4
	Examination Table.
	1

	5
	Thermometer
	4

	6
	Tongue depressor
	5

	7
	Torch.
	2

	8
	Measuring tape
	1

	9
	Weight and height measuring stand
	1

	10
	Knee Hammer
	2

	11
	Gloves
	Available







		

	Yoga Section (Swas-tha Rakhshan)

		S.No.
	Reagents/Liquids/Others
	*Availability

	1
	Facilities available (Equipment, Instrument, Furniture etc)
	Available







		

	Casualty

		S.No.
	Reagents/Liquids/Others
	*Availability

	1
	Facilities available (Equipment, Instrument, Furniture etc)
	Available







		Total :
	112



	


Instruments and Equipments for LABOUR ROOM
		

		S.No.
	Equipments, Instruments, Furniture
	*Count/Availability of Instruments/Equipments

	1
	Shadowless Lamp
	1

	2
	Suction Machine (Neonatal)
	1

	3
	Oxygen Cylinder and Mask
	1

	4
	Foetal Toco Cardiograph
	1

	5
	Radient Warmer
	1

	6
	Phototherapy Unit
	1

	7
	Weighing Machine (Paediatric)
	1

	8
	Patient trolley
	2

	9
	Anaesthesia trolley
	1

	10
	Infantometer
	1

	11
	Vacuum extractor
	1

	12
	Foetal Doppler
	1

	13
	Low cavity forceps
	2

	14
	Steriliser
	2

	15
	Macintosh rubber sheet
	Available

	16
	Catguts and Thread
	Available

	17
	Instruments for labour and Episiotomy (Scissors, forceps, needle, holder etc.)
	Available

	18
	Baby tray
	2

	19
	HIV kit for emergency patients
	Available

	20
	Plain and Hole towels
	Available

	21
	Nebuliser
	1

	22
	Foetoscope
	5

	23
	Autoclave
	1

	24
	Drums
	Available

	25
	Instrumental Trolley
	Available

	26
	OT tables with head up and head low facility
	1

	27
	Pulse Oxymeter
	1

	28
	Resuscitation kit
	1

	29
	Boyle's apparatus
	1

	30
	Electrocautery
	1

	31
	MTP Suction Machine
	1

	32
	Anaesthesia Kit
	1

	33
	Blunt and Sharp Curettes
	10

	34
	Dilators set (Hegar's, Hawkins)
	5

	35
	Sim's Speculum
	5

	36
	Anterior Vaginal Wall retractor
	5

	37
	Cysco's Speculum
	5

	38
	Uterine sound
	5

	39
	Volsellum
	5

	40
	MTP Suction Curette
	5

	41
	Needles
	Available

	42
	Needle holders
	Available

	43
	Sponge holding forcep's
	5

	44
	Towel Clips
	Available

	45
	Retractors abdominal (Doyne's etc.)
	5

	46
	Green armytage forceps
	5

	47
	Uterus holding forceps
	5

	48
	Kocher's forceps
	5

	49
	Artery forceps (Long, short, Mosquito)
	5

	50
	Scissors- different sizes
	5

	51
	Forceps obstetrics
	5

	52
	Endotracheal tubes
	5

	53
	B.P. apparatus
	2

	54
	Cord Cutting appliances
	5

	55
	I.U.C.D. removing hook
	5

	56
	Bladder Sound
	5




		Total :
	140



	
	
	
	
	
	
	
	
	
	
	
	
	
	











	
	Shalya

		S.No.
	Essential Equipments and Instruments
	*Count/Availability of Instruments/Equipments

	1
	Spot light (Shadowless ceiling fitted)
	1

	2
	Needle holding Forceps (big- medium-small)
	Available

	3
	Dressing drums of Assorted size
	Available

	4
	Drum stand
	Available

	5
	IV Stand
	5

	6
	X-ray View Box (double)
	3

	7
	Cheetles Forceps
	10

	8
	Mosquito forceps
	10

	9
	Scissors straight (Tailor)
	10

	10
	Scissors curved of different sizes
	10

	11
	Stich removal scissors
	10

	12
	Dissection forceps
	10

	13
	Sinus Forceps
	6

	14
	Probes - Assorted size
	15

	15
	Pointed scissors
	6

	16
	Abdominal Retractors
	8

	17
	Tissue Forceps
	14

	18
	Bob Kock's Forceps
	5

	19
	Kocher's Forceps
	5

	20
	Urethral Dilators
	10

	21
	Rubber catheters of Assorted size
	Available

	22
	Metal Cathetors
	10

	23
	Corrugated rubber drain
	Available

	24
	Suturing Needle (straight/curved) of Assorted size
	Available

	25
	Surgical Thread
	Available

	26
	Sponge holding forceps
	15

	27
	Right Angle cholecystectomy Forceps
	4

	28
	Stone holding forceps
	5

	29
	Allies Forceps small
	14

	30
	Allies Forceps Big
	10

	31
	Artery Forceps small
	10

	32
	Artery Forceps big
	10

	33
	Artery Forceps Medium
	15

	34
	Sigmoidoscope Rigid/flexible
	1

	35
	Barron Pile's Gun
	2

	36
	Laryngoscope Pediatric/Adult
	1

	37
	Boyles Apparatus
	1

	38
	Multiparameter Monitor
	1

	39
	Ambu Bag
	2

	40
	Suction machine Electrical or Manual
	1

	41
	Emergency power back up facility
	Available

	42
	Emergency light
	1

	43
	Fire Extinguisher
	1

	44
	Skin grafting knife with handle
	Available

	45
	Surgical blades of different size
	Available

	46
	BP Handle of different size
	Available

	47
	Vertical BP Instrument
	1

	48
	Self-Retaining Retractor
	Available

	49
	Bone cutter
	2

	50
	Giggly Saw
	2

	51
	Scoop
	Available

	52
	Periasteum elevator
	2

	53
	Maggler Forceps
	Available

	54
	High Pressure Autoclave
	1

	55
	Fumigator
	1

	56
	Refrigerator
	1

	57
	Nitrous Oxide Cylinder
	1

	58
	Hydrolic Operation Table
	1

	59
	Boyle's Appratus
	1

	60
	Instrument Trolley
	Available

	61
	Endotracheal Tube
	Available

	62
	Proctoscope with or without illumination
	4

	63
	Revolving Stool
	Available

	64
	Gabrial Syringe
	1

	65
	Strecher with trolley
	2

	66
	Needle holder
	Available

	67
	BP Apparatus
	Available

	68
	Suction Machine
	Available




		Total :
	262



	
	
	
	
	
	
	
	
	
	
	
	
	
	




		

	Shalakya: Ophthalmic Equipment or Instruments for Operative Surgery

		S.No.
	Essential Equipments and Instruments
	*Count/Availability of Instruments/Equipments

	1
	Ophthalmic Operation table with Head rest
	1

	2
	Sterilizing box/case with matts
	Available

	3
	Lens insertion Forceps
	Available

	4
	Keratome
	Available

	5
	Desmarres lid retractors
	Available

	6
	Cat-paw lacrimal retractor
	Available

	7
	Mueller lacrimal sac retractor
	Available

	8
	Dastoor iris retractor
	Available

	9
	MeyrhoeferChalazioncurrete
	Available

	10
	Sinsky lens manipulating hook
	Available

	11
	IOL Manipulator
	Available

	12
	Foreign body spud
	Available

	13
	Lewis lens loop (vectis)
	Available

	14
	Cystotome and spoon
	Available

	15
	Mule Evisceration spoon
	Available

	16
	Iris repository (double-ended)
	Available

	17
	Jameson muscle hook
	Available

	18
	Wills cautery with copper ball-point
	Available

	19
	Langs lacrimal sac dissector
	Available

	20
	Kelly Glaucoma punch
	Available

	21
	Elevator (double ended)
	Available

	22
	Nasal speculum adult/child
	Available

	23
	Wilder punctum Dilator
	Available

	24
	Bowman lacrimal probes
	Available

	25
	Hartman mosquito forceps
	Available

	26
	Colibri forceps 1*2 teech
	Available

	27
	Mc. person corneal forceps with tying platform
	Available

	28
	Dressing forceps, serrated
	Available

	29
	Moorfieldconjuctival forceps
	Available

	30
	Fixation forceps
	Available

	31
	Beer cilea (epilation) forceps
	Available

	32
	Arruga capsular forceps
	Available

	33
	SnellenEntropion clamp
	Available

	34
	Chalazion clamps
	Available

	35
	Vannas straight scissors
	Available

	36
	Barraquer needle holder
	Available

	37
	Air injection cannula
	Available

	38
	Healon aspirating cannula
	Available

	39
	AC was cannula
	Available

	40
	Lacrimal cannula
	Available

	41
	Hydrodialysis cannula
	Available

	42
	J-loop cannula (Right/Left With silicon tubing)
	Available

	43
	Simcok direct I/A cannula with silicon tubing
	Available

	44
	Irrigating aspirating handle
	Available

	45
	Lens dialer
	Available

	46
	Superior Rectus forceps
	Available

	47
	Eye wash glasses (for Tarpana Karma)
	Available

	48
	Swimming Goggles (for Tarpana Karma)
	Available




	
	
	
	
	
	
	
	
	
	
	
	
	
	
	




		Total :
	1



	

		

	Shalakya-ENT-Surgical or Operative Procedural Instruments

		S.No.
	Essential Equipments and Instruments
	*Count/Availability of Instruments/Equipments

	1
	Aural Syringe
	Available

	2
	Jobson's Aural Probe
	Available

	3
	Eustachian Catheter
	Available

	4
	Mastoid Retractor
	Available

	5
	Mastoid Gouge
	Available

	6
	Mallet
	Available

	7
	Nasal Foreign Body hook
	Available

	8
	Nasal packing forceps
	Available

	9
	Nasal Snare
	Available

	10
	Bayonet Shaped gouge
	Available

	11
	Walshman's forceps
	Available

	12
	Laryngeal forceps
	Available

	13
	Tongue plate with throat suction
	Available

	14
	Tonsil holding forceps
	Available

	15
	Tonsillar suction
	Available

	16
	Adenoid curette with cage
	Available

	17
	Peritonsillarabcess draining forceps
	Available

	18
	Fuller's Tracheostomy Tube
	Available

	19
	Cheatel's Forceps
	Available







		Total :
	0



	

		

	Others

		S.No.
	Reagents/Liquids/Others
	*Availability

	1
	Other consumable articles like gloves, syringes, bandages, sutras, etc.
	Available










